## Summary
Summary of checklists
| Sr. | Title
| 1 | Outer perimeter checklist
| 2 | Inner perimeter checklist
| 3 | Inside stadium checklist
| 4 | Prematch checklist
| 5 | Staircase checklist
| 6 | PSA Safety checklist
Use of the checklists
YES = satisfactory; NO = concern; NA = not applicable. Blanks and NA do not affect the percentage score.
Firefighting equipment
Extinguishers: check pin/seal, hose/nozzle and pressure indicator where fitted. Hose reels: check hose/nozzle, cabinet access and visible leakage. Use NA where equipment is not required in the inspected area.
Inspection scope
These are physical readiness checks. FRA, certificates, drills, servicing and technical tests remain separate processes. System readiness can be confirmed by the responsible operator.
Reference basis
AFC Stadium Regulations (2026)
https://assets.the-afc.com/downloads/tournament-regulations/AFC-Stadium-Regulations-%28Edition-2026%29-.pdf
FIFA Stadium Guidelines: testing and inspections
https://publications.fifa.com/fr/football-stadiums-guidelines/general-process-guidelines/operations/testing-and-inspections/

## Outer perimeter checklist
OUTER PERIMETER CHECKLIST FOR STADIUM
Date of Inspection :
Inspector name :
Location :
Sr. | Description | Answer | Score | Concern/observation | Recommendation/Action required
1 | Identification of gates are available |  | 0
2 | Are the gates stable and well-supported |  | 0
3 | Are gates free of trip and fall hazards |  | 0
4 | Do the edge of gate have anti slip finish |  | 0
5 | Is adequate lighting available for gate |  | 0
6 | Electrical cables are arranged properly |  | 0
7 | Are the gate free from debris or storage |  | 0
8 | Are area under and surrounding the gate free of storage |  | 0
9 | Are the gate surrounding has necessary signages |  | 0
10 | Counterweight of the fences are stable |  | 0
11 | Emergency exit gates are clearly marked |  | 0
12 | Are the pedestrian access will not be disturb with vehicle movement |  | 0
13 | Are the pedestrian access will not be disturb with vehicle movement |  | 0
14 | Are the pedestrian access will not be disturb with vehicle movement |  | 0
15 | Are the pedestrian access will not be disturb with vehicle movement |  | 0
16 | Are the pedestrian access will not be disturb with vehicle movement |  | 0
|  | 16 | 0 |  | Score: YES / (YES + NO)

## PSA Safety checklist
Public Security Access (PSA) SAFETY CHECKLIST FOR STADIUM
Date of Inspection :
Inspector name :
Location :
Sr. | Description | Answer | Score | Concern/observation | Recommendation/Action required
1 | Are PSA identification and direction signs in place and legible? |  | 0
2 | Is the PSA structure visibly stable, well-supported and free from damage? |  | 0
3 | Is access to the PSA free from trip and fall hazards? |  | 0
4 | Are PSA egress routes clear and free from trip and fall hazards? |  | 0
5 | Are PSA walking surfaces and thresholds slip-resistant? |  | 0
6 | Is adequate lighting available in the PSA? |  | 0
7 | Are screening and queue barriers secure and arranged without blocking access or escape routes? |  | 0
8 | Are the PSAs free from debris or storage? |  | 0
9 | Are the areas under and around the PSAs free from unnecessary storage? |  | 0
10 | Are electrical cables secured and protected, without exposed damage or trip hazards? |  | 0
11 | Are accessible surfaces and edges free from sharp projections? |  | 0
12 | Are garbage bins properly maintained? |  | 0
13 | Are designated accessible screening lanes and their approach routes clear and usable? |  | 0
14 | Where fitted, can designated emergency exit gates be opened readily, with release devices unobstructed? |  | 0
15 | Are required extinguishers and hose reels in place, accessible, visibly undamaged and within their indicated inspection/service period? |  | 0
| Total | 15 | 0 |  | SCORE" YES/YES+NO)

## Inner perimeter checklist
INNER PERIMETER CHECKLIST FOR STADIUM
Date of Inspection :
Inspector name :
Location :
Sr. | Description | Answer | Score | Concern/observation | Recommendation/Action required
1 | Are generators and distribution boards secured, with covers closed, ventilation clear and no visible damage or fuel leakage? |  | 0
2 | Are designated smoking areas free from combustible materials? |  | 0
3 | Are the surrounding areas free from trip and fall hazards? |  | 0
4 | Are drain covers in place, secure and free from hazardous gaps or changes in level? |  | 0
5 | Are fan-zone cables secured and protected without obstructing pedestrian routes? |  | 0
6 | Are garbage bins available in the required locations? |  | 0
7 | Are the surrounding areas free from unnecessary storage? |  | 0
8 | Are required direction and safety signs in place and legible? |  | 0
9 | Is adequate lighting available in the area? |  | 0
10 | Are media cables secured and protected without creating trip hazards? |  | 0
11 | Are toilets usable, with safe access, secure fittings and floors free from slip or trip hazards? |  | 0
12 | Are required extinguishers and hose reels in place, accessible, visibly undamaged and within their indicated inspection/service period? |  | 0
13 | Where cooking is provided, are heat sources clear of combustibles and gas cylinders or fuel containers secured in their designated locations? |  | 0
14 | Are temporary tents, platforms, signs and other installations visibly secure and free from damage? |  | 0
15 | Are fire hydrants and fire-service connections unobstructed, where provided? |  | 0
16 | Are emergency vehicle routes and access points within the inner perimeter clear? |  | 0
| Total | 16 | 0 |  | Score: YES / (YES + NO)

## Inside stadium checklist
Date of Inspection :
Inspector name :
Location :
Sr. | Description | Answer | Score | Concern/observation | Recommendation/Action required
1 | Are pitch-area cables secured and protected without obstructing access or creating trip hazards? |  | 0
2 | Are media cables in seating areas secured without obstructing seats or aisles? |  | 0
3 | Are generators, distribution boards and backup-power equipment secured, with covers closed and no obvious damage? |  | 0
4 | Are required extinguishers and hose reels in place, accessible, visibly undamaged and within their indicated inspection/service period? |  | 0
5 | Are required exit, direction and safety signs in place, visible and legible? |  | 0
6 | Is the area free from unnecessary storage of combustible, flammable or other materials? |  | 0
7 | Are circulation routes, aisles and exit routes free from obstruction? |  | 0
8 | Are accessible seating spaces and companion seats clear and free from hazards? |  | 0
9 | Are accessible toilets usable, with clear access and secure fittings? |  | 0
10 | Are media cables elsewhere inside the building secured and protected without creating trip hazards? |  | 0
11 | Is adequate lighting available in all occupied areas and circulation routes? |  | 0
12 | Are spectator seats secure and free from broken parts or sharp edges? |  | 0
13 | Are balustrades, guards and spectator barriers complete, secure and free from visible damage? |  | 0
14 | Are fire doors undamaged, free from improper wedges and able to close and latch as intended? |  | 0
15 | Are accessible paths, ramps, exit routes and designated refuge spaces, where provided, clear and usable? |  | 0
16 | Are designated first-aid rooms identifiable, accessible and free from unrelated storage? |  | 0
17 | Are temporary platforms, signs and overhead fixtures visibly secure and free from obvious damage? |  | 0
18 | Are fire alarm call points, hose cabinets and fire-service access points visible and unobstructed? |  | 0
| Total | 18 | 0 |  | Score: YES / (YES + NO)

## Staircase checklist
STAIRCASE CHECKLIST FOR STADIUM
Date of Inspection :
Inspector name :
Location :
Sr. | Description | Answer | Score | Concern/observation | Recommendation/Action required
1 | Are stair identification and exit signs in place and legible? |  | 0
2 | Are stairs and landings visibly stable, supported and free from damaged or missing treads? |  | 0
3 | Are stairs free from trip and fall hazards? |  | 0
4 | Are stair nosings and anti-slip finishes intact? |  | 0
5 | Is adequate lighting available on the stairs and landings? |  | 0
6 | Is emergency lighting available on the stairs and landings? |  | 0
7 | Are stairs and landings free from debris, storage and other obstructions? |  | 0
8 | Are the areas under and around the stairs free from unnecessary storage? |  | 0
9 | Are stair landings clear, with doors opening freely without creating a hazard at the steps? |  | 0
10 | Are required handrails and guards present, secure and free from damage? |  | 0
11 | Can emergency announcements be heard clearly in the stair area? |  | 0
12 | Where provided, are stair smoke-control or pressurisation systems confirmed available for operation? |  | 0
13 | Are stair-enclosure fire doors undamaged, free from improper wedges and able to close and latch? |  | 0
| Total | 13 | 0 |  | Score: YES / (YES + NO)

## Prematch checklist
PREMATCH CHECKLIST FOR STADIUM
6th Jan 2026
Inspector name :
Location :
Sr. | Description | Answer | Score | Concern/observation | Recommendation/Action required
1 | Are critical assets secured and the required backup power confirmed available by the responsible operator? |  | 0
2 | Where a firefighters' lift is provided, are its access keys available to the designated responsible person? |  | 0
3 | Has the responsible operator confirmed that the fire alarm system is available in the approved event configuration? |  | 0
4 | Are the radios ready to use? |  | 0
5 | Are volunteers briefed and deployed? |  | 0
6 | Are all access points free from trip, slip and fall hazards? |  | 0
7 | Have hospitality and protocol staff received their safety briefing and induction? |  | 0
8 | Have the Venue Commander and VOC members received their safety briefing and induction? |  | 0
9 | Has the PA system been tested and confirmed operational? |  | 0
10 | Has emergency lighting been checked and confirmed operational? |  | 0
11 | Are emergency exits and access routes clear, with designated exit doors and gates unlocked and ready for use? |  | 0
12 | Are identified defects from the safety readiness inspection closed or escalated before opening? |  | 0
13 | Are required CCTV, turnstile/counting and entry-control systems confirmed ready by their responsible operators? |  | 0
| Other observations (not scored) |  | 0
| Total | 13 | 0 |  | Score: YES / (YES + NO)

## Sheet1 (hidden)
YES
NO
NA